“Am I about to break something?”  (Avoid common lab mishaps)

Chemical Compatibility
Avoid costly or dangerous situations with plasticware and filters for harsh samples (organic solvents, strong acid or base, strong oxidizing or reducing agents).  Check a “chemical compatibility” or “chemical resistance” chart to make sure your sample is compatible with the device.

- For your specific item, check for chemical compatibility information directly from the manufacturer. Some examples:
Eppendorf polypropylene tubes
Amicon centrifugal ultrafiltration devices: see User Guide
Whatman PES syringe filters
Corning Plasticware
Pike ATR-FTIR crystals (click the Crystal Properties button)

- If a specific chart for your item isn’t available, identify all materials of the device that are in contact with the sample and check a general chemical compatibility table, e.g.:
Cole-Parmer, ThermoFisher, SpectrumLabs

Centrifuging

Centrifuges are dangerous if not operated correctly!

- Avoid breaking centrifuge tubes:

  - Check the maximum rcf rating for your specific centrifuge tube and do not exceed, e.g. Corning 15 mL PP tubes have max rcf of 12,000g

  - To convert rotor speed (rpm) to relative centrifugal force (rcf), check if the instrument display automatically converts.  If not, look up your specific rotor, e.g. Eppendorf MiniSpin Plus Operating Manual or online calculator.

- Weigh the centrifuge tubes after filling with sample, and ensure masses are balanced evenly across the rotor.  Use a tube filled with water to balance, if you aren’t able to balance samples.